JustSprinklers Irrigation System -  Galisteo Community Center -  Spring 2026

- System:  Hydro-Rain HRC 400 Wifi Smart Irrigation Controller model #: 44 67 55 0B DF DD (needed for phone app)

- On-line Instruction Manual:  can be found here and here.   Explains control box and app.  Also has installation instructions.

- Contacts:  Alex Finlayson 830-456-0305 / Suzy Shanklin 505-577-2412 / May Wen 510-206-3702

- Zones:   There are three zones.  1.  Front beds and 3 trees  2. West Wall bed  3. Six Trees on west side.

- Schedule:  This may change.  Zones 1 & 2 - MWF 7am, 20 minutes.     Zone 3 -  T, 40 minutes

- Installation/Repair:  JustSprinklers  - 505-797-3384 - Original Invoice # 104765. Service can also be scheduled online at JustSprinklers.com.   Estimator is Omar Chavez (505) 712-4048 who lives in Moriarty if any trouble contacting main office or issues that can’t be solved.   omar@justsprinklers.com.  Omar is great with texting.

- Maintenance:   Bi-annual maintenance can be scheduled with JustSprinklers office for fall shutdown and spring start-up.

- Control Box Key:  hanging on hook in Community Center utility closet; Alex also has copy

- App:  system can be controlled via app b.hyve pro.  Alex currently has app installed.

- Cut-off Key:  on the ground behind the Community Center;  long rod which turns the top of the valve near water hydrant and apricot tree.

- Rain, Frost:   System has automatic delay in case of rain or frost.

- Warranty:  Controller has 3-year warranty.  Manifold (shut off valve, backflow, and valve assembly has 5-year warranty.  Installation has 1-year warranty.   For conditions see invoice.